## Summary (hidden)
GRAND SUMMARY OF BILL OF QUANTITIES
Adigrat (Mewtsaworki)
I.NO. | DESCRIPTION | UNIT | AMOUNT | QUANTITY | TOTAL AMOUNT
1 | SITE WORK …………………………………….. | Birr |  | 1
2 | PUMP HOUSE ………………………………….. | Birr |  | 1
3 | TRANSFORMER HOUSE …………………….. | Birr |  | 3
| TOTAL .…… | Birr |  |  |  | 0
| VAT 15% ……. | Birr
| TOTAL INCLUDING VAT …… | Birr |  |  |  | 0

## Phase I (hidden)
SUMMARY OF BILL OF QUANTITIES
FOR SITE WORK
Adigrat (Mewtsaworki)
I.NO. | DESCRIPTION | UNIT | AMOUNT |  |  |  | AMOUNT
1 | ACCESS ROADS ……………………………………….………………………...……….. | Birr
2 | EXTERNAL WATER SUPPLY SYSTEM …………………………………….. | Birr
3 | 500M3 CONCRETE GROUND WATER RESERVOIR …………………………………………………………….………. | Birr
4 | SEWERAGE SYSTEM …………………………………………………………….………. | Birr
5 | SITE ELECTRIC WORKS …………………………………………………………….………. | Birr
| TOTAL .……………………………….. | Birr
| VAT 15% …………………..…………… | Birr
| TOTAL INCLUDING VAT ……………………….……… | Birr
ITEM NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT | RATE | QTY.
1. ACCESS ROADS
1. Main Roads Carriageway and Sidewalks
2100 | Clearing and Grubbing
21.01 | Clearing and Grubbing | ha | 6.5 |  |  | 27226.5694 |  |  |  |  | -27226.5694
3200 | Culverts and Appurtenant Structures | [9 empty] | 0
32.01 | Excavation | [9 empty] | 0
32.01 (a) | Excavation in soft material irrespective of depth for structures | m3 | 7500 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (b) | Excavation in soft rock irrespective of depth for structures | lm | 2100 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (c) | Excavation in hard rock irrespective of depth for structures | lm | 1808.3754 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (d) | Construct Earth trapezoidal open ditch as shown in drawing (provisional item) | lm | 300 |  |  | 150.3418 |  |  |  |  | -150.3418
32.02 | Backfilling | [9 empty] | 0
32.02 (b) | Using imported material | m3 | 3066.9269 |  |  | 295.8633 |  |  |  |  | -295.8633
32.07( c ) | Class-C lean Concrete below Head wall | m3 | 868.2482 |  |  | 100 |  |  |  |  | -100
3300 | Concrete curbing and Channeling | [9 empty] | 0
33.01 | Concrete curbing , Type A and Type B (40cm x15cm ) as shown in the drawing | lm | 9765.506 |  |  | 419.2905 |  |  |  |  | -419.2905
33.05(a) | Reinforced Concrete Inlet Gutter, Class 'A' Concrete, Type and Size Shown on the Drawing | No. | 65 | [7 empty] | 0
33.16 | Reinforced Concrete drain cover | [9 empty] | 0
33.16(a) | 1.4 x 0.3 x 0.20 m Concrete cover class C-25 for ditch as shown in the drawing for vehicle crossing | No. | 110 | [7 empty] | 0
3400 | Pitching, stone work, and Erosion protection | [9 empty] | 0
34.01 | Stone pitching | [9 empty] | 0
34.01(b) | Grouted stone pitching (provisional item) | m2 | 150 |  |  | 300 |  |  |  |  | -300
34.03 | Stone masonry walls | [9 empty] | 0
34.03(b) | Cement-mortared stone walls | m3 | 4000 |  |  | 1459.3768 |  |  |  |  | -1459.3768
4200 | Road way and Borrow Excavation | [9 empty] | 0
42.01 | Cut and Borrow to fill | [9 empty] | 0
42.01(a)i | Cut to fill/embankment ,compaction to 95 % AASHTO T-180 | m3 | 2000 |  |  | 231.8457 |  |  |  |  | -231.8457
42.01(a) ii | Borrow to fill ,compaction to 95 % AASHTO T-181 | m3 | 27612.278 |  |  | 295.8633 |  |  |  |  | -295.8633
42.03 | Cut to spoil obtained from | [9 empty] | 0
42.03(a) | Common (normal) Excavation | m3 | 42662.2326 |  |  | 150.3418 |  |  |  |  | -150.3418
42.03(b) | Intermediate Excavation (provisional item) | m3 | 2000 |  |  | 246.4329 |  |  |  |  | -246.4329
42.03(c) | Hard Excavation (provisional item) | m3 | 2000 |  |  | 342.524 |  |  |  |  | -342.524
42.01(i) | Capping layer (CBR>15%) | m3 | 6945.8529 |  |  | 295.8633 |  |  |  |  | -295.8633
5100 | Sub-Bases | [9 empty] | 0
51.01 | Sub base layer constructed from gravel or crushed stone | [9 empty] | 0
51.01(a) | Gravel sub base | [9 empty] | 0
51.01(a)(ii) | Gravel Sub-Base layer,97%MDD, AASHTO T-180 | m3 | 4364.6157 |  |  | 398.5355 |  |  |  |  | -398.5355
5200 | Road Bases | [9 empty] | 0
52.01 | Base Course | [9 empty] | 0
52.01 | Crushed stone Base layer, 100% of AASHTO density compaction layer thickness not exceeding 200mm | m3 | 1290.1717 |  |  | 644 |  |  |  |  | -644
6000 | Bituminous Surfacing and Road bases | [9 empty] | 0
6100 | Bituminous prime coat | [9 empty] | 0
61.01 | Prime coat | [9 empty] | 0
62.01(a) | MC -30 Cutback bitumen Application rate 1 lt/m2 | Lt. | 8601.145 |  |  | 55 |  |  |  |  | -55
6400 | Bituminous Road Bases and Surfacing | [9 empty] | 0
64.02 | Asphalt surfacing | [9 empty] | 0
64.02(a) | 50mm (a) Continuously graded course grading | m2 | 8601.145 |  |  | 600 |  |  |  |  | -600
** | Cobblestone for access road Carriage way and side walk as shown in drawing. The stone should be shaped and laid broken - coursed on 5cm thick 00 aggregate. The cost includes the 5cm thick 00 aggregate as indicated in the typical drawings. | m2 | 17992.156 |  |  | 453.8693 |  |  |  |  | -453.8693
| Sub-total Carriageway carried to Access Roads Summary | [9 empty] | 0
0
2. Walkways | Walkway | [9 empty] | 0
2100 | Clearing and Grubbing | [9 empty] | 0
21.01 | Clearing and Grubbing | ha | 0.5 |  |  | 27226.5694 |  |  |  |  | -27226.5694
3200 | Culverts and Appurtenant Structures |  |  |  |  | 0 |  |  |  |  | 0
32.01 | Excavation |  |  |  |  | 0 |  |  |  |  | 0
32.01 (a) | Excavation in soft material irrespective of depth for structures | m3 | 100 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (b) | Excavation in soft rock irrespective of depth for structures | lm | 425 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (c) | Excavation in hard rock irrespective of depth for structures | lm | 500 |  |  | 150.3418 |  |  |  |  | -150.3418
32.01 (d) | Construct Earth trapezoidal open ditch as shown in drawing | lm | 250 |  |  | 150.3418 |  |  |  |  | -150.3418
32.02 | Backfilling |  |  |  |  | 0 |  |  |  |  | 0
32.02 (b) | Using imported material | m3 | 1520 |  |  | 295.8633 |  |  |  |  | -295.8633
32.07( c ) | Class-C lean Concrete below Head wall | m3 | 100 |  |  | 2000 |  |  |  |  | -2000
33.16 | Reinforced Concrete drain cover |  |  |  |  | 0 |  |  |  |  | 0
33.16(b) | 1.4 x 0.3 x 0.20m Concrete cover class C-25 for ditch as shown in the drawing for vehicle crossing | No | 10 |  |  | 608.1907 |  |  |  |  | -608.1907
33.16(c) | 1.4 x 0.3 x 0.10 m Concrete cover class C-25 for ditch as shown in the drawing for Pedestrian crossing | No | 50 |  |  | 550 |  |  |  |  | -550
3300 | Concrete curbing and Channeling | [9 empty] | 0
33.01 | Concrete curbing , Type A and Type B (40cm x15cm ) as shown in the drawing | lm | 600 |  |  | 419.2905 |  |  |  |  | -419.2905
3400 | Pitching,stone work, and Erosion protection | [9 empty] | 0
34.01 | Stone pitching | [9 empty] | 0
34.01(b) | Grouted stone pitching (provisional item) | m2 | 0 |  |  | 300 |  |  |  |  | -300
34.03 | Stone masonry walls | [9 empty] | 0
34.03(b) | Cement-mortared stone walls | m3 | 1500 |  |  | 1459.3768 |  |  |  |  | -1459.3768
4200 | Road way and Borrow Excavation | [9 empty] | 0
42.01 | Cut and Borrow to fill | [9 empty] | 0
42.01(a)i | Cut to fill/embankment ,compaction to 95 % AASHTO T-180 | m3 | 850 |  |  | 231.8457 |  |  |  |  | -231.8457
42.01(a) ii | Borrow to fill ,compaction to 95 % AASHTO T-181 | m3 | 1500 |  |  | 295.8633 |  |  |  |  | -295.8633
42.03 | Cut to spoil obtained from | [9 empty] | 0
42.03(a) | Common (normal) Excavation | m3 | 1800 |  |  | 150.3418 |  |  |  |  | -150.3418
42.03(b) | Intermediate Excavation (provisional item) | m3 | 100 |  |  | 246.4329 |  |  |  |  | -246.4329
42.03(c) | Hard Excavation (provisional item) | m3 | 100 |  |  | 342.524 |  |  |  |  | -342.524
42.01(i) | Capping layer (CBR>15%) | m3 | 1678 |  |  | 295.8633 |  |  |  |  | -295.8633
5100 | Sub-Bases | [9 empty] | 0
51.01 | Sub base layer constructed from gravel or crushed stone | [9 empty] | 0
51.01(a) | Gravel sub base | [9 empty] | 0
51.01(a)(ii) | Gravel Sub-Base layer,97%MDD,AASHTO T-180 | m3 | 225 |  |  | 398.5355 |  |  |  |  | -398.5355
** | Cobblestone for access walkways to buildings as shown in drawing. The stone should be shaped and laid broken - coursed on 5cm thick 00 aggregate. The cost includes the 5cm thick 00 aggregate as indicated in the typical drawings. | m2 | 1500 |  |  | 453.8693 |  |  |  |  | -453.8693
| Sub-total Walkway carried to Access Roads Summary | [9 empty] | 0
0
3. Car Parking | Car Parking | [9 empty] | 0
2100 | Clearing and Grubbing | [9 empty] | 0
21.01 | Clearing and Grubbing | ha | 0.52466 |  |  | 27226.5694 |  |  |  |  | -27226.5694
3300 | Concrete curbing | [9 empty] | 0
33.01 | Concrete curbing ,Type A and Type B (40cm x15cm ) as shown in the drawing | lm | 600 |  |  | 419.2905 |  |  |  |  | -419.2905
33.16 | Reinforced Concrete drain cover | [9 empty] | 0
33.16(b) | 1.4 x 0.3 x 0.20m Concrete cover class C-25 for ditch as shown in the drawing for vehicle crossing | No | 96 |  |  | 0 |  |  |  |  | 0
4200 | Road way and Borrow Excavation | [9 empty] | 0
42.01 | Cut and Borrow to fill | [9 empty] | 0
42.01(a)i | Cut to fill/embankment ,compaction to 95 % AASHTO T-180 | m3 | 1250 |  |  | 231.8457 |  |  |  |  | -231.8457
42.01(a) ii | Borrow to fill ,compaction to 95 % AASHTO T-181 | m3 | 5246.619 |  |  | 295.8633 |  |  |  |  | -295.8633
42.03 | Cut to spoil obtained from | [9 empty] | 0
42.03(a) | Common (normal) Excavation | m3 | 8132.2594 |  |  | 150.3418 |  |  |  |  | -150.3418
42.03(b) | Intermediate Excavation (provisional item) | m3 | 500 |  |  | 246.4329 |  |  |  |  | -246.4329
42.03(c) | Hard Excavation (provisional item) | m3 | 500 |  |  | 342.524 |  |  |  |  | -342.524
42.01(i) | Capping layer (CBR>15%) | m3 | 1573.9857 |  |  | 295.8633 |  |  |  |  | -295.8633
5100 | Sub-Bases | [9 empty] | 0
51.01 | Sub base layer constructed from gravel or crushed stone | [9 empty] | 0
51.01(a) | Gravel sub base | [9 empty] | 0
51.01(a)(ii) | Gravel Sub-Base layer,97%MDD,AASHTO T-180 | m3 | 786.993 |  |  | 398.5355 |  |  |  |  | -398.5355
** | Cobblestone for road Car Parking lots as shown in drawing. The stone should be shaped and laid broken - coursed on 5cm thick 00 aggregate. The cost includes the 5cm thick 00 aggregate as indicated in the typical drawings. | m2 | 5246.619 |  |  | 453.8693 |  |  |  |  | -453.8693
| Sub-total Car Parking carried to Access Roads Summary | [9 empty] | 0
0
| Sub-total Access Roads carried to Summary | [9 empty] | 0
** Those items are not part of ERA Technical specification | [10 empty] | 0
0
| 2. EXTERNAL WATER SUPPLY SYSTEM | [9 empty] | 0
0
2.1 | Domestic water supply system | [9 empty] | 0
2.1.1 | HDPE 0f PN 10 Water distribution pipe; including necessary fitting | [9 empty] | 0
| excavation to an average depth of 1500mm & a width of 600mm | [9 empty] | 0
| & 150mm thick sand bedding all around the pipe, backilling from site etc. | [9 empty] | 0
| and all as per the details and attached Technical Specifications | [9 empty] | 0
| & all sizes are internal diameter | [9 empty] | 0
0
| i) excavation in ordinary soil | [9 empty] | 0
| With compression connection | [9 empty] | 0
| a) dia 25mm | ml | 202 |  |  | 212.7452 | 202 |  |  |  | -212.7452
| b) dia 32mm | '' | 211 |  |  | 233.39 | 211 |  |  |  | -233.39
| c) dia 40mm | '' | 267 |  |  | 261.7766 | 267 |  |  |  | -261.7766
| d) dia 50mm | '' | 247 |  |  | 300.96 | 247 |  |  |  | -300.96
| e) dia 65mm | '' | 412 |  |  | 370.8449 | 412 |  |  |  | -370.8449
| f) dia 75mm | '' | 411 |  |  | 450.3312 | 411 |  |  |  | -450.3312
| g) dia 100mm | '' | 156 |  |  | 530.2609 | 156 |  |  |  | -530.2609
0
| With fussion connection | [9 empty] | 0
| h) dia 200mm | '' | 240 |  |  | 2078.8226 | 240 |  |  |  | -2078.8226
| i) dia 250mm | '' | 336 |  |  | 2910.5348 | 336 |  |  |  | -2910.5348
0
| Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| j) dia 32mm | '' | 15 |  |  | 559.39 | 15 |  |  |  | -559.39
| k) dia 40mm | '' | 10 |  |  | 587.7766 | 10 |  |  |  | -587.7766
| l) dia 50mm | '' | 10 |  |  | 626.96 | 10 |  |  |  | -626.96
| m) dia 65mm | '' | 20 |  |  | 696.8449 | 20 |  |  |  | -696.8449
0
| ii) excavation in mixed formation (ordinary soil with soft rock) | [9 empty] | 0
| With compression connection | [9 empty] | 0
| a) dia 25mm | ml | 54.4 |  |  | 270.3091 | 136 | 21.76 |  |  | -270.3091
| b) dia 32mm | '' | 56.4 |  |  | 290.9539 | 141 | 22.56 |  |  | -290.9539
| c) dia 40mm | '' | 71.2 |  |  | 319.3405 | 178 | 28.48 |  |  | -319.3405
| d) dia 50mm | '' | 66 |  |  | 358.5239 | 165 | 26.4 |  |  | -358.5239
| e) dia 65mm | '' | 110 |  |  | 428.4088 | 275 | 44 |  |  | -428.4088
| f) dia 75mm | '' | 109.6 |  |  | 507.8951 | 274 | 43.84 |  |  | -507.8951
| g) dia 100mm | '' | 41.6 |  |  | 587.8248 | 104 | 16.64 |  |  | -587.8248
0
| With fussion connection | [9 empty] | 0
| h) dia 200mm | '' | 64 |  |  | 2136.3865 | 160 | 25.6 |  |  | -2136.3865
| i) dia 250mm | '' | 92 |  |  | 2968.0987 | 230 | 36.8 |  |  | -2968.0987
0
| Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| j) dia 32mm | '' | 6 |  |  | 616.9539 | 15 | 2.4 |  |  | -616.9539
| k) dia 40mm | '' | 4 |  |  | 645.3405 | 10 | 1.6 |  |  | -645.3405
| l) dia 50mm | '' | 4 |  |  | 684.5239 | 10 | 1.6 |  |  | -684.5239
| m) dia 65mm | '' | 8 |  |  | 754.4088 | 20 | 3.2 |  |  | -754.4088
0
| iii) excavation in Hard Rock | [9 empty] | 0
| With compression connection | [9 empty] | 0
| a) dia 25mm | ml | 81.6 |  |  | 530.0174 | 136 | 48.96 |  |  | -530.0174
| b) dia 32mm | '' | 84.6 |  |  | 550.6622 | 141 | 50.76 |  |  | -550.6622
| c) dia 40mm | '' | 106.8 |  |  | 579.0488 | 178 | 64.08 |  |  | -579.0488
| d) dia 50mm | '' | 99 |  |  | 618.2322 | 165 | 59.4 |  |  | -618.2322
| e) dia 65mm | '' | 165 |  |  | 688.1171 | 275 | 99 |  |  | -688.1171
| f) dia 75mm | '' | 164.4 |  |  | 767.6034 | 274 | 98.64 |  |  | -767.6034
| g) dia 100mm | '' | 62.4 |  |  | 847.5331 | 104 | 37.44 |  |  | -847.5331
0
| With fussion connection | [9 empty] | 0
| h) dia 200mm | '' | 96 |  |  | 2396.0948 | 160 | 57.6 |  |  | -2396.0948
| i) dia 250mm | '' | 138 |  |  | 3227.807 | 230 | 82.8 |  |  | -3227.807
0
| Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| j) dia 32mm | '' | 9 |  |  | 876.6622 | 15 | 5.4 |  |  | -876.6622
| k) dia 40mm | '' | 6 |  |  | 905.0488 | 10 | 3.6 |  |  | -905.0488
| l) dia 50mm | '' | 6 |  |  | 944.2322 | 10 | 3.6 |  |  | -944.2322
| m) dia 65mm | '' | 12 |  |  | 1014.1171 | 20 | 7.2 |  |  | -1014.1171
0
2.1.2 | Gate valves /PN 16/ European standared / BS-5154 with adaptors and | [9 empty] | 0
| required accessories. | [9 empty] | 0
| a) Bronze gate valves | [9 empty] | 0
| dia 32mm | No | 1 |  |  | 1509.0242 | 1 |  |  |  | -1509.0242
0
| b) Brass gate valves | [9 empty] | 0
| a) dia 40mm | No | 1 |  |  | 2000 | 1 |  |  |  | -2000
| b) dia 50mm | No | 5 |  |  | 2200 | 5 |  |  |  | -2200
| c) dia 65mm | No | 6 |  |  | 2431.0482 | 6 |  |  |  | -2431.0482
| d) dia 75mm | '' | 10 |  |  | 3567.2137 | 10 |  |  |  | -3567.2137
| e) dia 100mm | '' | 3 |  |  | 3704.4203 | 3 |  |  |  | -3704.4203
| f) dia 200mm | '' | 4 |  |  | 11211.1257 | 4 |  |  |  | -11211.1257
| g) dia 250mm | '' | 1 |  |  | 11298.9052 | 1 |  |  |  | -11298.9052
0
| c) Air release valves with isolating valve | [9 empty] | 0
| single orfice kinetic type | [9 empty] | 0
| dia50mm | '' | 3 |  |  | 4598 | 3 |  |  |  | -4598
0
| d) Wash out vertically located with flat check valve at end | [9 empty] | 0
| Brass valves | [9 empty] | 0
| dia 50mm | '' | 2 |  |  | 3654.5 | 2 |  |  |  | -3654.5
0
2.1.3 | i) Valve boxes in internally plastered hollow concrete wall R.C base slab, R.C. cover including excavation of pit and cart away in ordinary soil. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 2 |  |  | 1621.7168 | 4 |  |  |  | -1621.7168
| 1.0 x 0.8 x 1.0m | No | 1 |  |  | 1887.7565 | 2 |  |  |  | -1887.7565
| 1.4 x 1.0 x 1.0m | No | 1 |  |  | 2153.7961 | 2 |  |  |  | -2153.7961
0
| ii) Valve boxes in internally plastered hollow concrete wall R.C base slab,R.C. cover including excavation of pit and cart away in soft rock. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 1 |  |  | 1769.4641 | 4 |  |  |  | -1769.4641
| 1.0 x 0.8 x 1.0m | No | 1 |  |  | 2065.0532 | 2 |  |  |  | -2065.0532
| 1.4 x 1.0 x 1.0m | No | 1 |  |  | 2360.6424 | 2 |  |  |  | -2360.6424
0
| iii) Valve boxes in internally plastered hollow concrete wall R.C base slab,R.C. cover including excavation of pit and cart away in hard soil. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 1 |  |  | 2436.0488 | 4 |  |  |  | -2436.0488
| 1.0 x 0.8 x 1.0m | No | 1 |  |  | 2864.9549 | 2 |  |  |  | -2864.9549
| 1.4 x 1.0 x 1.0m | No | 1 |  |  | 3293.861 | 2 |  |  |  | -3293.861
0
2.1.4 | Irregation hydrant complete with quick coupling,key for quick coupling valves and with necessary fittings. | No | 6 |  |  | 542.3 | 6 |  |  |  | -542.3
0
2.2 | Fire water supply system | [9 empty] | 0
0
2.2.1 | HDPE 0f PN 16 Water distribution pipe; including necessary fitting excavation to an average depth of 1500mm & a width of 600mm & 150mm thick sand bedding all around the pipe, backilling from site etc. and all as per the details and attached Technical Specifications | [9 empty] | 0
| & all sizes are internal diameter | [9 empty] | 0
0
| i) excavation in ordinary soil | [9 empty] | 0
| a) With compression connection | [9 empty] | 0
| dia 50mm | ml | 270 |  |  | 300.96 | 270 |  |  |  | -300.96
| dia 75mm | '' | 1104 |  |  | 450.3312 | 1104 |  |  |  | -450.3312
| dia 100mm | '' | 1386 |  |  | 530.2609 | 1386 |  |  |  | -530.2609
| b) Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| dia 75mm | '' | 20 |  |  | 776.3312 | 70 |  |  |  | -776.3312
| dia 100mm | '' | 30 |  |  | 856.2609 | 110 |  |  |  | -856.2609
0
| ii) excavation in mixed formation (ordinary soil with soft rock) | [9 empty] | 0
| a) With compression connection | [9 empty] | 0
| dia 50mm | ml | 72 |  |  | 358.5239 | 180 | 28.8 |  |  | -358.5239
| dia 75mm | '' | 294 |  |  | 507.8951 | 735 | 117.6 |  |  | -507.8951
| dia 100mm | '' | 369.6 |  |  | 587.8248 | 924 | 147.84 |  |  | -587.8248
| b) Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| dia 75mm | '' | 28 |  |  | 833.8951 | 70 | 11.2 |  |  | -833.8951
| dia 100mm | '' | 44 |  |  | 913.8248 | 110 | 17.6 |  |  | -913.8248
0
| iii) excavation in Hard Rock | [9 empty] | 0
| a) With compression connection | [9 empty] | 0
| dia 50mm | ml | 108 |  |  | 618.2322 | 180 | 64.8 |  |  | -618.2322
| dia 75mm | '' | 441 |  |  | 767.6034 | 735 | 264.6 |  |  | -767.6034
| dia 100mm | '' | 554.4 |  |  | 847.5331 | 924 | 332.64 |  |  | -847.5331
| b) Ditto but with R.C cover at vehicular crossings as per details | [9 empty] | 0
| dia 75mm | '' | 42 |  |  | 1093.6034 | 70 | 25.2 |  |  | -1093.6034
| dia 100mm | '' | 66 |  |  | 1173.5331 | 110 | 39.6 |  |  | -1173.5331
0
2.2.2 | Gate valves /PN 16/ European standared / BS-5154 with adaptors and | [9 empty] | 0
| accessories. | [9 empty] | 0
| a) brass gate valves | [9 empty] | 0
| dia 75mm | No | 6 |  |  | 3567.2137 | 6 |  |  |  | -3567.2137
| dia 100mm | '' | 18 |  |  | 3704.4203 | 18 |  |  |  | -3704.4203
| b) Pressure reducing valves | [9 empty] | 0
| Bronze valves | [9 empty] | 0
| dia 100mm | No | 1 |  |  | 4795.6202 | 1 |  |  |  | -4795.6202
| dia75mm | No | 4 |  |  | 4500 | 4 |  |  |  | -4500
0
2.2.3 | i) Valve boxes in hollow concrete wall R.C base slab,R.C. cover | [9 empty] | 0
| including excavation of pit and cart away in ordinary soil. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 4 |  |  | 1621.7168 | 7 |  |  |  | -1621.7168
0
| ii) Valve boxes in hollow concrete wall R.C base slab,R.C. cover | [9 empty] | 0
| including excavation of pit and cart away in soft rock. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 2 |  |  | 1769.4641 | 7 |  |  |  | -1769.4641
0
| iii) Valve boxes in hollow concrete wall R.C base slab,R.C. cover | [9 empty] | 0
| including excavation of pit and cart away in hard rock. | [9 empty] | 0
| 1.0 x 0.6 x 1.0m | No | 3 |  |  | 2436.0488 | 7 |  |  |  | -2436.0488
0
2.2.4 | Water pumps and accessories. | [9 empty] | 0
| Fire Fighting Pumps | [9 empty] | 0
| Supply, install and commission factory assembled | [9 empty] | 0
| Grundfos or equivalent corrosion resistant approved quality | [9 empty] | 0
| automatic fire water pump set on common base plate consisting of the followings : | [9 empty] | 0
| - valves(one-way,saftey,stop valves) ,Pressure gages | [9 empty] | 0
| - manifolds (suction and delivery) | [9 empty] | 0
| - Strainers | [9 empty] | 0
| -Common base plate and necessary accessories | [9 empty] | 0
| for complete installation and proper performance. | [9 empty] | 0
| Price shall also include fuel tank for stand-by diesel pump | [9 empty] | 0
| adequate at least for two hours, exhaust system | [9 empty] | 0
| for diesel stand-by pump and all civil assistance works. | [9 empty] | 0
| The work shall be carried out in accordance with the | [9 empty] | 0
| manufacturer's instruction and as shown on the drawing. | [9 empty] | 0
| Price shall also include all the necessary accessories | [9 empty] | 0
| required for the proper operation of the system although | [9 empty] | 0
| not specified or not shown on the drawing. | [9 empty] | 0
| Diesel pump (1 unit) | [9 empty] | 0
| Q = 10 L/S | [9 empty] | 0
| H = 40m | [9 empty] | 0
| Electric pump (2 units) | [9 empty] | 0
| Q = 5L/S | [9 empty] | 0
| H = 40m | [9 empty] | 0
| Jocky pump (1 unit) | [9 empty] | 0
| Q =1.0 L/s | [9 empty] | 0
| H = 40m | Set | 1 |  |  | 750000 | 1 |  |  |  | -750000
| b) Brass gate valves | [9 empty] | 0
| dia 100mm | No | 7 |  |  | 3704.4203 | 7 |  |  |  | -3704.4203
| c)Brass one way valves | [9 empty] | 0
| dia 100mm | No | 4 |  |  | 1994.4202 | 4 |  |  |  | -1994.4202
0
2.2.5 | Fire hydrants | [9 empty] | 0
| a) External column fire hydrants with two outlet with vertical valve DN65, | [9 empty] | 0
| connecting fittings and required | [9 empty] | 0
| accessories.( size 100mm) | No | 12 |  |  | 54291.19 | 12 |  |  |  | -54291.19
| b) Lockable hose box with 50 meters long and dia 50mm | [9 empty] | 0
| non percolating canvas hose, bronze nozel and necessary | [9 empty] | 0
| accessories for quick connection to fire hydrant. | No | 12 |  |  | 54291.19 | 12 |  |  |  | -54291.19
0
2.3 | Radio Signal Transmittor | [9 empty] | 0
2.3.1 | Supply install test and commision radio signal transmittor at the proposed bore hole which will be used as water source of the university for controlling the operation of the submersible pumps | No | 2 |  |  | 40000 | 2 |  |  |  | -40000
0
| Sub-total External Water Supply System carried to Summary | [9 empty] | 0
0
| 3. 500M3 CONCRETE GROUND WATER RESERVOIR | [9 empty] | 0
0
3.1 | EXCAVATION & EARTH WORKS | [9 empty] | 0
[9 empty] | 2661.1 | 2661.1 | 0
3.1.01 | Site clearing and removing of top 200mm thick soil | m2 | 499.2 |  |  | 11.3412 | 499.2 |  | 2661.1 | 2661.1 | -11.3412
[10 empty] | 0 | 0
3.1.02 | Bulk Excavation to receive Reinforced concrete Reservoir to a depth not exceeding 1500mm in ordinary soil | m3 | 299.52 |  |  | 80.129 | 299.52 |  | 11462.464 | 11462.464 | -80.129
[10 empty] | 0 | 0
3.1.03 | Ditto but in soft rock (prov. item) | m3 | 119.808 |  |  | 157.3817 | 119.808 |  | 10674.3 | 10674.3 | -157.3817
[10 empty] | 0 | 0
3.1.04 | Ditto but in hard rock (prov. item) | m3 | 74.88 |  |  | 531.9364 | 74.88 |  | 20930 | 20930 | -531.9364
[10 empty] | 0 | 0
3.1.05 | Fill around R.C Wall with selected material from site and compact in layers not exceeding 200 mm | m3 | 36.7086 |  |  | 191.5578 | 36.7086 |  | 1615.6182 | 1615.6182 | -191.5578
[10 empty] | 0 | 0
3.1.06 | Cart away excavated material as per the instruction of the Engineer | m3 | 399.36 |  |  | 53.7314 | 399.36 |  | 21438.866 | 21438.866 | -53.7314
| TOTAL CARRIED TO SUMMARY ................................................... | [9 empty] | 0
0
3.2 | CONCRETE WORKS | [9 empty] | 0
0
3.2.01 | 50 mm C-5 lean concrete, minimum cement content 150 kg/m3 under | [9 empty] | 0
| a) Bottom slab. | m2 | 145.3257 |  |  | 70.276 | 145.3257 |  | 7331.1414 | 7331.1414 | -70.276
0
3.2.02 | C-35 Reinforced concrete, minimum cement content of 440 kg/m3 filled in to form work and vibrated around steel reinforcement (formwork and reinforcement measured separately) | [9 empty] | 0
0
| a) in Bottom Slab | m3 | 30.4277 |  |  | 1771.3903 | 30.4277 |  | 59454.8327 | 59454.8327 | -1771.3903
| b) in Top Slab | m3 | 34.6418 |  |  | 1804.1507 | 34.6418 |  | 69772.7491 | 69772.7491 | -1804.1507
| c) in R.C Reservoir Wall | m3 | 55.1571 |  |  | 2000 | 55.1571 |  | 111093.0239 | 111093.0239 | -2000
0
3.2.03 | Provide, cut and fix in position sawn Zigba wood or steel formwork which ever appropriate | [9 empty] | 0
0
| a) to Bottom Slab | m2 | 17.0971 |  |  | 131.0036 | 17.0971 |  | 2083.2402 | 2083.2402 | -131.0036
| b) to Top Slab | m2 | 137.5873 |  |  | 131.0036 | 137.5873 |  | 16764.6389 | 16764.6389 | -131.0036
| c) to R.C Reservoir Wall | m2 | 368.2457 |  |  | 150 | 368.2457 |  | 44869.7356 | 44869.7356 | -150
0
3.2.04 | Mild steel reinforcement according to structural drawings. Price includes cutting, bending, placing in position and tying wire - for non-expansive soil. | [9 empty] | 0
0
| a) dia 8mm deformed bar | kg | 1335.2876 |  |  | 36.8049 | 1335.2876 |  | 43347.5382 | 43347.5382 | -36.8049
| b) dia 10mm deformed bar | kg | 2597.4898 |  |  | 36.8049 | 2597.4898 |  | 82417.3835 | 82417.3835 | -36.8049
| c) dia 12mm deformed bar | kg | 10775.178 |  |  | 36.8049 | 10775.178 |  | 341892.3853 | 341892.3853 | -36.8049
| d) dia 14mm deformed bar | kg | 875.196 |  |  | 36.8049 | 875.196 |  | 27769.6431 | 27769.6431 | -36.8049
| e) dia 16mm deformed bar | kg | 1782.8244 |  |  | 36.8049 | 1782.8244 |  | 56568.3541 | 56568.3541 | -36.8049
0
3.2.05 | Supply and install PVC water stopper in the reservoir RC wall as per the Engineer's approval. | Ml | 83.2857 |  |  | 95 | 83.2857 |  | 23320 | 23320 | -95
| TOTAL CARRIED TO SUMMARY ................................................... | [9 empty] | 0
0
3.3 | FINISHING WORK | [9 empty] | 0
0
3.3.01 | Apply three coats of plastering in cement mortar (1:3) (price includespre-cleaning and preparation of the surface) | [9 empty] | 0
| a) to internal reinforced concrete surface of reservoir. | m2 | 178.2 |  |  | 146.1508 | 178.2 |  | 15898.1907 | 15898.1907 | -146.1508
0
3.3.02 | 50mm thick cement sand screed smoothly finished flooring in mortar mix (1:3) | [9 empty] | 0
0
| a) to receive Xypex Water proofing. | m2 | 514.9257 |  |  | 131 | 514.9257 |  | 53718.8957 | 53718.8957 | -131
0
3.3.03 | Supply and lay 4mm thick approved quality membrane type water proofing material to roof slab according to manufactures instructions and Engineers approval.Price includes 50mm thick light weight concrete. | m2 | 138.5673 |  |  | 500 | 138.5673 |  | 54041.2526 | 54041.2526 | -500
0
3.3.04 | Apply xypex water proofing material or equivalent to internal wall and bottom slab in accordance with the manufacturers instruction and Engineers approval. Price includes all the necessary material and work. | m2 | 693.1257 |  |  | 300 | 693.1257 |  | 270319.0286 |  | -300
0
3.3.05 | 5mm thick Chequered plate Man hole cover Size : 940x940mm | Pcs | 2 |  |  | 500 | 2 |  | 2780 |  | -500
| TOTAL CARRIED TO SUMMARY ................................................... | [9 empty] | 0
0
3.4 | METAL WORK | [9 empty] | 0
0
3.4.01 | Metal window and doors made of 28x1mm black iron LTZ profiles shown on the drawings, price include approved quality locks and all iron mongry works,two coats of anti rust and synthetic paint. All according to detail Arch. drawings. | [9 empty] | 0
0
3.4.02 | Internal Reservoir ladder made of Dia. 65mm and 2mm thick aluminum stand anchored to RC wall and including Dia 50mm, 2mm thick stepping aluminum ladders fixed to the stand as shown on the the structural detail drawing. Price includes all the necessary anchoring, connecting plates and all accessories essential to complete the work | Ml | 4.2 |  |  | 700 | 4.2 |  | 25200 | 25200 | -700
0
3.4.03 | External Reservoir ladder made of Dia. 32mm steel reinforcement stand anchored to RC wall and including Dia 20mm steel reinforcement stepping ladder fixed to the stand as shown on the the structural detail drawing. Price shall includes all the necessary anchoring ,connecting plates and all accessories essential to complete the work | Ml | 4.2 |  |  | 600 | 4.2 |  | 2520 | 2520 | -600
| TOTAL CARRIED TO SUMMARY ................................................... | [9 empty] | 0
0
3.5 | SANITARY WORKS (INSTALLATION) | [9 empty] | 0
0
| Supply ,test & commission 500m3 capacity Ground Reservoir including the following pipes, valves, fittings and all accessories for proper operation | [9 empty] | 0
| Capacity:- 500m3 | [9 empty] | 0
0
3.5.01 | Provide dia.150mm UV- resistant PN-10 HDPE inlet pipe from nearby supply main, priceshall include adaptors. | ml | 120 |  |  | 1500 | 120 |  |  |  | -1500
0
3.5.02 | Provide UV- resistant PN-10 HDPE overflow & Drain pipe to /from/ | [9 empty] | 0
| water reservoir | [9 empty] | 0
| a) dia 150mm Drain Pipe | ml | 3 |  |  | 1500 | 3 |  |  |  | -1500
| b) dia 150mm Over Flow Pipe | ml | 10 |  |  | 1500 | 10 |  |  |  | -1500
0
0
3.5.03 | Provide dia.100mm Coarser mesh stainless steel strainer on fire outlet suction | No | 2 |  |  | 2500 | 2 |  |  |  | -2500
0
3.5.04 | Provide dia.150mm Fine (micro) stainless steel mesh cover on overflow funnel to protect insect entering through the pipe to reservoirs. | No | 2 |  |  | 3800 | 2 |  |  |  | -3800
0
3.5.05 | Supply, install & test dia 150mm flot valve at inlet pipe | No | 2 |  |  | 7500 | 2 |  |  |  | -7500
0
3.5.06 | Provide and install automatic level control switch to stop the fire | [9 empty] | 0
| water pumps at water leveled 700mm above the top level of bottom slab | [9 empty] | 0
| (which is used to reserve enough volume of water for firefighting system) | Set | 1 |  |  | 1500 | 1 |  |  |  | -1500
0
3.5.7 | Supply and fix brass gate valves of approved quality including adaptors | [9 empty] | 0
| to HDPE pipes. | [9 empty] | 0
| a) On pipe inlet point to tank, dia.150mm | No | 3 |  |  | 7000 | 3 |  |  |  | -7000
| b) On water tank drain pipe, dia. 150mm | No | 2 |  |  | 7000 | 2 |  |  |  | -7000
| c) On water distribution pipe after tank, dia. 250mm | No | 3 |  |  | 8000 | 3 |  |  |  | -8000
0
3.5.8 | Valve boxes for drain pipe valves in double brick wall R.C base slab,R.C. | [9 empty] | 0
| cover including excavation of pit and cart away. | [9 empty] | 0
| Size 1.8 x 1.2 x depth = 1.5m | No | 1 |  |  | 8500 | 1 |  |  |  | -8500
0
3.5.9 | Provide dia 150 vent pipe with cap made from UV resistant uPVC pipe | No | 4 |  |  | 2000 | 4 |  |  |  | -2000
0
3.5.10 | Provide dia 200mm funnel at over flow pipe which is made up of 5mm thick | [9 empty] | 0
| plastic including connectors to overflow HDPE pipe | No | 2 |  |  | 5000 | 2 |  |  |  | -5000
0
3.5.11 | Provide dia 160 uPVC drainage pipe from reservoirs to the nearest road side ditch (Provisional quantity) | ml | 150 |  |  | 573.946 | 150 |  |  |  | -573.946
0
| Sub-total Ground Water Reservoir carried to Summary | [9 empty] | 0
0
| 4. SEWERAGE SYSTEM | [9 empty] | 0
0
4.1 | Waste water drainage pipe | [9 empty] | 0
0
4.1.1 | Supply ,lay ,test & commission PN6 uPVC drainage pipe including | [9 empty] | 0
| excavation of the trench to an average depth and width of 1500mm | [9 empty] | 0
| and 700mm respectively, spread of 100mm thick sand bedding | [9 empty] | 0
| around the pipe and backfilling from site. | [9 empty] | 0
0
i | excavation in ordinary soil | [9 empty] | 0
| a) dia 160mm | ml | 570 |  |  | 573.946 | 570 |  |  |  | -573.946
| b) dia 200mm | '' | 988 |  |  | 741.704 | 988 |  |  |  | -741.704
| c) dia 300mm | '' | 828 |  |  | 1446.796 | 828 |  |  |  | -1446.796
0
ii | excavation in Soft Rock | [9 empty] | 0
| a) dia 160mm | ml | 152.4 |  |  | 674.6828 | 381 | 213.36 | 43.5429 |  | -674.6828
| b) dia 200mm | '' | 263.6 |  |  | 842.4408 | 659 | 369.04 | 75.3143 |  | -842.4408
| c) dia 300mm | '' | 220.8 |  |  | 1547.5328 | 552 | 309.12 | 63.0857 |  | -1547.5328
0
iii | excavation in Hard Rock | [9 empty] | 0
| a) dia 160mm | ml | 228.6 |  |  | 1129.1724 | 381 | 365.76 | 85.725 |  | -1129.1724
| b) dia 200mm | '' | 395.4 |  |  | 1296.9304 | 659 | 632.64 | 148.275 |  | -1296.9304
| c) dia 300mm | '' | 331.2 |  |  | 2002.0224 | 552 | 529.92 | 124.2 |  | -2002.0224
0
4.1.2 | Ditto item no 4.1.1 above but uPVC waste water drain pipe in cased in | [9 empty] | 0
| concrete pipe and the later covered by mass concrete at road | [9 empty] | 0
| crossing area. | [9 empty] | 0
| b) dia 200mm | '' | 80 |  |  | 1556.5427 | 80 |  |  |  | -1556.5427
| c) dia 300mm | '' | 48 |  |  | 2261.6348 | 48 |  |  |  | -2261.6348
0
4.1.3 | Percast concrete manhole | [9 empty] | 0
| Supply & install Percast concrete manhole including R-C-base slab, | [9 empty] | 0
| R-C Cover, Price shall also include excavation of pit , cartaway and backfilling from site | [9 empty] | 0
0
i | excavation in ordinary soil | [9 empty] | 0
| a) dia 600mm upto 1meter depth | No | 60 |  |  | 676.4458 | 60 |  |  |  | -676.4458
| b) dia 800mm 1- 2 meter depth | '' | 14 |  |  | 1319.225 | 14 |  |  |  | -1319.225
| c) dia 1000mm 2-3 meter depth (upper 1meter height shaft in dia 600mm). | '' | 14 |  |  | 2677.7524 | 14 |  |  |  | -2677.7524
0
ii | excavation in soft Rock | [9 empty] | 0
| a) dia 600mm upto 1meter depth | No | 10 |  |  | 759.2899 | 40 | 4 |  |  | -759.2899
| b) dia 800mm 1- 2 meter depth | '' | 4 |  |  | 1492.7456 | 12 |  |  |  | -1492.7456
| c) dia 1000mm 2-3 meter depth (upper 1meter height shaft in dia 600mm). | '' | 2 |  |  | 3071.0093 | 7 |  |  |  | -3071.0093
0
iii | excavation in Hard Rock | [9 empty] | 0
| a) dia 600mm upto 1meter depth | No | 30 |  |  | 1133.0535 | 40 |  |  |  | -1133.0535
| b) dia 800mm 1- 2 meter depth | '' | 8 |  |  | 2275.6104 | 12 |  |  |  | -2275.6104
| c) dia 1000mm 2-3 meter depth (upper 1meter height shaft in dia 600mm). | '' | 5 |  |  | 4707.5108 | 7 |  |  |  | -4707.5108
0
4.1.4 | Dilution pit | [9 empty] | 0
| construct Dilution pit for laboratories in precast concrete manhole | [9 empty] | 0
| including R-C base slab, R-C cover excavation of pit and | [9 empty] | 0
| cartaway. | [9 empty] | 0
| a) dia 800mm upto 1.75 meter depth | No | 3 |  |  | 3300 | 3 |  |  |  | -3300
0
4.1.5 | Construct oil and greas separator for kitchen in double brick wall, | [9 empty] | 0
| R-C base slab, 5mm thick checkered cast iron cover, including | [9 empty] | 0
| excavation of pit and cartaway. | [9 empty] | 0
| 3500 x 2500m, d=1.5m | No | 2 |  |  | 11000 | 2 |  |  |  | -11000
0
4.1.6 | Septic Tank (3X135m3 Capacity with common wall)
4.1.6.1 | Excavation and Earth work
4.1.6.1.1 | Clearing of the site to remove top soil and other rubbish materials to an average depth of 200mm. | m2 | 484
4.1.6.1.2 | Bulk excavation in ordinary soil to a depth not exceeding 1500 mm from reduced level. | m3 | 726
4.1.6.1.3 | Ditto but in soft rock (prov. item) | m3 | 290.4
4.1.6.1.4 | Ditto but in hard rock (prov. item) | m3 | 181.5
4.1.6.1.5 | Bulk excavation in ordinary soil to a depth exceeding 1500 mm from reduced level. | m3 | 1355.2
4.1.6.1.6 | Ditto but in soft rock (prov. item) | m3 | 542.08
4.1.6.1.7 | Ditto but in hard rock (prov. item) | m3 | 338.8
4.1.6.1.8 | Trench excavation in ordinary soil to stone masonry wall | m3 | 365.04
4.1.6.1.9 | Ditto but in soft rock (prov. item) | m3 | 146.016
4.1.6.1.10 | Ditto but in hard rock (prov. item) | m3 | 91.26
4.1.6.1.11 | Back fill around retaining wall with non swelling selected material from site, well rammed in layers of 200mm thick, compacted at dry density and optimum moisture content. The degree of compaction and the material should be approved by the Engineer. | m3 | 95
4.1.6.1.12 | Back fill under hard core with selected granular material from site | m3 | 244.8
4.1.6.1.13 | Load and cart away excavated material from the site as per the Engineer's direction. | m3 | 2543.04
4.1.6.1.14 | 600 mm thick basaltic or equivalent stone hard core | m2 | 244.8
4.1.6.2 | Concrete work
4.1.6.2.1 | 50 mm thick C-5 lean concrete with minimum cement content of 150 kg/m3 of concrete | m2 | 141.6
4.1.6.2.2 | C-25 reinforced concrete with minimum cement content of 360kg of cement/m3 of concrete filled into form work and vibrated around rod reinforcement. (Formwork and reinforcement measured separately) | m3 | 52.152
4.1.6.2.3 | Provide, cut and fix in position sawn structural wood or steel formwork whichever appropriate. | m2 | 223.44
4.1.6.2.4 | Steel reinforcement according to structural drawing. Price shall include cutting, bending, placing in position and tying wires.
| a) Diam. 8mm deformed bar. | kg | 1516.5985
| b) " 14mm. " " | kg | 4513.7826
4.1.6.3 | Masonry Work
4.1.6.3.1 | Supply and construct stone masonry retaining wall bedded in cement mortar (1:4). | m3 | 589.9296
4.1.6.3.2 | Supply and construct Manhole cover as per the detail drawing | No | 9
4.2 | Storm water drainage system | [9 empty] | 0
4.2.1 | Excavation and Earth work
4.2.1.1 | Trench excavation in ordinary soil to reduce level from the natural ground level . | m3 | 11700
4.2.1.2 | Trench excavation in soft rock to areduce level from the natural ground level . | m3 | 2700
4.2.1.3 | Trench excavation in hard rock to reduce level from the natural ground level . | m3 | 7200
4.2.1.4 | Back fill and compact around foundation in non expansive material 80% from the site and 20% selected material from quarry waste well rolled and compacted in layers not exceeding 200 mm thick. | M3 | 5400
4.2.1.5 | Back fill and compact under stone pitching with imported selected material from quarry site well rolled and compacted in layers not exceeding 200 mm thick. | M3 | 1950
4.2.1.6 | Cart away and spread excavated surplus materials to appropriate distance. | m3 | 17281.8
4.2.2 | Concrete works
4.2.2.1 | 5cm thick C-15 mass concrete under stone nasonry foundation wall | m2 | 3750
4.2.2.2 | C-25 reinforced concrete with minimum cement content of 360 kg of cement/m3 of concrete filled into formwork and vibrated around rod reinforcement (formwork and reinforcement measured separately) | m3 | 810
4.2.2.3 | Provide, cut and fix in position sawn wood or steel formwork which ever is appropriate; | m2 | 4350
4.2.2.4 | Mild steel reinforcement according to structural drawings. Price includes cutting, bending, placing in position,tying wire and concrete spacers.
| a Diam. 10mm deformed bar. | kg | 32392.5
| b) Diam. 14mm deformed bar. | kg | 110
| c) Diam. 16mm deformed bar. |  | 400
4.2.3 | Masonry Works
4.2.3.1 | Hard trachytic roughly dressed stone masonry foundation wall below ground level bedded in cement mortar mix ratio (1:3). | m3 | 6630
4.2.3.2 | Ditto but for exposed part above natural ground level. | m3 | 76.5
4.2.3.3 | Supply and construct 200mm thick grouted stone pitching with cement mortar (1:4). | m2 | 3900
4.3 | Storm water drainage system between buildings | [9 empty] | 0
4.3.1 | Construct storm drainage channel out of masonry as per the detail drawing & the Engineer's instruction. Price shall include excavation of the trench, cartaway, provision of 50mm thick sand bedding, 200 mm thick stone pitching etc. | [9 empty] | 0
0
| Width of Channel 400mm | ml | 1500 |  |  | 250 | 550 |  |  |  | -250
| Width of channel 500mm | ml | 1000 |  |  | 250 | 500 |  |  |  | -250
0
4.3.2 | Ditto item no 4.2.3 above but provided with R.C. removable cover at entrance to building. | [9 empty] | 0
0
| Width of Channel 400mm | ml | 500 |  |  | 740 | 125 |  |  |  | -740
| Width of channel 500mm | ml | 450 |  |  | 745 | 45 |  |  |  | -745
0
| Sub-total Sewerage System carried to Summary | [9 empty] | 0
5 | ELECTRICAL SITE WORK | [9 empty] | 0
| SUPPLY AND INSTALL | [9 empty] | 0
0
5.1 | CENTRAL MAIN DISTRIBUTION BOARD | [9 empty] | 0
5.1.1 | Central Main Distribution Board, CMDB-1, floor standing for indoor use, in steel sheet enclosure with lockable door. The distribution board shall be erected on the concrete floor, along the route of the cables coming from the transformer house.Circuit breakers should have LSI function, including bus bars of 1000A/3P rating, neutral and earth bars, consisting of:- | [9 empty] | 0
| 1pc main MCCB of 800A/3p | [9 empty] | 0
| 1pc MCCB of 400A/3p | [9 empty] | 0
| 1pc MCCB of 320A/3p | [9 empty] | 0
| 1pc MCCB of 250A/3p | [9 empty] | 0
| 3pcs current transformers 1000/5 A | [9 empty] | 0
| 3pcs Ammeter 0-1000A | [9 empty] | 0
| 1pc Voltmeter (0-500V), with seven steps selector switch | [9 empty] | 0
| 3 pcs fuse protection for the voltmeters of 8-10A | [9 empty] | 0
| 1 pc 4 pole ,50kA class 1 SPD | [9 empty] | 0
| 1 pc NH00 potection fused load break switch for SPD of 80A/3p | [9 empty] | 0
| Spare space for future extension at least 25% | NO. | 1 |  |  | 135000 |  |  |  |  | -135000
0
5.1.2 | Ditto, but CMDB-2, with 2000A/3P bus bars consisting of:- | [9 empty] | 0
| 1pc main MCCB of 1600A/3p | [9 empty] | 0
| 1pc MCCB of 800A/3p | [9 empty] | 0
| 3pcs MCCB of 320A/3p | [9 empty] | 0
| 2pcs ACB of 25A/3p | [9 empty] | 0
| 3pcs current transformers 2000/5 A | [9 empty] | 0
| 3pcs Ammeter 0-2000A | [9 empty] | 0
| 1pc Voltmeter (0-500V), with seven steps selector switch | [9 empty] | 0
| 3 pcs fuse protection for the voltmeters of 8-10A | [9 empty] | 0
| 1 pc 4 pole ,50kA class 1 SPD | [9 empty] | 0
| 1 pc NH00 potection fused load break switch for SPD of 80A/3p | [9 empty] | 0
| Spare space for future extension at least 25% | NO. | 1 |  |  | 191000 |  |  |  |  | -191000
0
5.1.3 | Ditto, but CMDB-3, with 630A/3P bus bars consisting of:- | [9 empty] | 0
| 1pc main MCCB of 400A/3p | [9 empty] | 0
| 3pcs MCCB of 125A/3p | [9 empty] | 0
| 3pcs ACB of 63A/3p | [9 empty] | 0
| 2pcs ACB of 32A/3p | [9 empty] | 0
| 3pc ACB of 25A/3p | [9 empty] | 0
| 1pc contactor of 25A/3ph | [9 empty] | 0
| 3pcs current transformers 630/5 A | [9 empty] | 0
| 3pcs Ammeter 0-630A | [9 empty] | 0
| 1pc Voltmeter (0-500V), with seven steps selector switch | [9 empty] | 0
| 3 pcs fuse protection for the voltmeters of 8-10A | [9 empty] | 0
| 1 pc 4 pole ,50kA class 1 SPD | [9 empty] | 0
| 1 pc NH00 potection fused load break switch for SPD of 80A/3p | [9 empty] | 0
| Spare space for future extension at least 25% | NO. | 1 |  |  | 95000 |  |  |  |  | -95000
0
5.2 | SUB DISTRIBUTION PILLAR | [9 empty] | 0
5.2.1 | Sub distribution Pillar, SDP-1/1, floor standing for outdoor use, in IP65 steel sheet enclosure with lockable door. The distribution pillar shall be on the concrete pad as indicated on the drawing, along the route of the cables.Circuit breakers should have LSI function, all ACBs should have short circuit breaking capacity of atleast 10kA and 25kA for MCCBs,including bus bars of 630A/3P rating, neutral and earth bars, consisting of:- | [9 empty] | 0
| 1pc main MCCB of 400A/3p | [9 empty] | 0
| 5pcs ACB of 63A/3p | [9 empty] | 0
| 2pcs ACB of 50A/3p | [9 empty] | 0
| 1pc ACB of 40A/3p | [9 empty] | 0
| 1pc MCB of 25A/3p | [9 empty] | 0
| 1pc contactor of 25A/3ph | [9 empty] | 0
| 25% Reserve Pitch | NO. | 1 |  |  | 53000 |  |  |  |  | -53000
0
5.2.2 | Ditto, but SDP-1/2 , with 400A/3p bus bars and consisting of:- | [9 empty] | 0
| 1pc main MCCB of 320A/3p | [9 empty] | 0
| 5pcs ACB of 63A/3p | [9 empty] | 0
| 1pc MCB of 25A/3p | [9 empty] | 0
| 1pc contactor of 25A/3ph | [9 empty] | 0
| 25% Reserve Pitch | NO. | 1 |  |  | 51000 |  |  |  |  | -51000
0
5.2.3 | Ditto, but SDP-1/3 , with 320A/3p bus bars and consisting of:- | [9 empty] | 0
| 1pc main MCCB of 250A/3p | [9 empty] | 0
| 1pc MCCB of 125A/3p | [9 empty] | 0
| 1pc ACB of 63A/3p | [9 empty] | 0
| 1pc ACB of 40A/3p | [9 empty] | 0
| 1pc ACB of 25A/3p | [9 empty] | 0
| 1pc contactor of 25A/3ph | [9 empty] | 0
| 25% Reserve Pitch | NO. | 1 |  |  | 49000 |  |  |  |  | -49000
0
5.3 | POWER DISTRIBUTION SYSTEM | [9 empty] | 0
5.3.1 | UNDERGROUND CABLES | [9 empty] | 0
0
a | PVC Sheathed PVC Insulsted Underground cable type NYY 0.6/1kV of (3x120/70+1x70) sqmm from CMDBs to SDPs. | M | 140 |  |  | 2200 |  |  |  |  | -2200
0
b | Ditto, but of (3x95/50+1x50) sqmm. | M | 330 |  |  | 1500 |  |  |  |  | -1500
0
c | Ditto, but for pump station (3x70/35+1x35) sqmm. | M | 40 |  |  | 1200 |  |  |  |  | -1200
0
d | Ditto, but of (3x120/70+1x70) sqmm from CMDBs to Buildings. | M | 260 |  |  | 2200 |  |  |  |  | -2200
0
e | Ditto, but of (3x95/50+1x50) sqmm. | M | 1015 |  |  | 1500 |  |  |  |  | -1500
0
f | Ditto, but of (3x70/35+1x35) sqmm. | M | 390 |  |  | 1200 |  |  |  |  | -1200
0
g | Ditto, but of (3x50/25+1x25) sqmm. | M | 292 |  |  | 1000 |  |  |  |  | -1000
0
h | Ditto, but of (3x25/16+1x16) sqmm. | M | 965 |  |  | 600 |  |  |  |  | -600
0
i | Ditto, but of (5x16) sqmm. | M | 372 |  |  | 325 |  |  |  |  | -325
0
j | Ditto, but of (5x10) sqmm. | M | 159 |  |  | 220 |  |  |  |  | -220
0
k | Ditto, but of (5x6) sqmm. | M | 700 |  |  | 145 |  |  |  |  | -145
0
l | Ditto, but of (3x70/35+1x35) sqmm from SDPs to Buildings. | M | 90 |  |  | 1200 |  |  |  |  | -1200
0
m | Ditto, but of (3x35/16+1x16) sqmm. | M | 580 |  |  | 750 |  |  |  |  | -750
0
n | Ditto, but of (3x25/16+1x16) sqmm. | M | 905 |  |  | 600 |  |  |  |  | -600
0
o | Ditto, but of (5x16) sqmm. | M | 384 |  |  | 325 |  |  |  |  | -325
0
p | Ditto, but of (5x10) sqmm. | M | 125 |  |  | 220 |  |  |  |  | -220
0
q | Ditto, but of (5x6) sqmm for street and compound lighting. | M | 5139 |  |  | 150 |  |  |  |  | -150
0
r | Ditto, but of (3x2.5) sqmm for street and compound lighting from fuse inside the pole connection window to the fitting. | M | 944 |  |  | 55 |  |  |  |  | -55
0
5.3.2 | UNDERGROUND DUCTS/PIPES | [9 empty] | 0
a | HDPE Pipe of 110mm diameter. | M | 900 |  |  | 110 |  |  |  |  | -110
0
b | Six-way Concrete incasement as shown on the detail drawings. | M | 150 |  |  | 2500 |  |  |  |  | -2500
0
5.3.3 | CABLE TRENCHES | [9 empty] | 0
| a) Cable trench for street lighting, service cables & feeder cables of width 600mm and depth of 800mm filled with sand. | M3 | 2466.72 |  |  | 295 |  |  |  |  | -295
0
5.3.4 | MANHOLES | [9 empty] | 0
| a) Manhole in solid block and with concrete base internally of 1000x1000x1000mm including reinforced concrete cover with lifting handle. | NO. | 3 |  |  | 17500 |  |  |  |  | -17500
0
5.3.5 | WARNING TAPES | [9 empty] | 0
| 100 mm wide plastic tape, coloured yellow with suitable warning legend describing buried electrical lines | M | 5139 |  |  | 50 |  |  |  |  | -50
0
5.3.6 | Earthing | [9 empty] | 0
a | 2400x16mm copper bond earthing rod including | [9 empty] | 0
| accessories inside manhole (measured else where) at least | [9 empty] | 0
| 3 per each transformer house or CMDB. | NO. | 9 |  |  | 750 |  |  |  |  | -750
0
b | 1x150mm sq. bare copper bondig conductor from earth rod to CMDB's | M | 9 |  |  | 550 |  |  |  |  | -550
0
c | 1x120mm sq. bare copper bondig conductor from earth rod to CMDB's | M | 6 |  |  | 500 |  |  |  |  | -500
0
d | 1x95mm sq. bare copper bondig conductor from earth rod to CMDB's | M | 6 |  |  | 420 |  |  |  |  | -420
0
e | 1x95mm sq. bare copper bondig conductor from earth rod to SDP's | M | 6 |  |  | 420 |  |  |  |  | -420
0
f | 1x70mm sq. bare copper bondig conductor from earth rod to SDP's | M | 6 |  |  | 350 |  |  |  |  | -350
0
5.4 | EXTERNAL LIGHTING | [9 empty] | 0
5.4.1 | LIGHT POLES | [9 empty] | 0
a | Street lighting pole of 8.0m height above ground level up to the fitting, with single arm and free fixed door, including removable panel with clamps for power cables, and protective fuse holder with 1x6A fuses. Price to include foundation work as indicated on detail drawing and painting of poles. | NO. | 50 |  |  | 12000 |  |  |  |  | -12000
0
b | Street lighting pole of 8.0m height above ground level up to the fitting, with double arm and free fixed door, including removable panel with clamps for power cables, and protective fuse holder with 1x6A fuses. Price to include foundation work as indicated on detail drawing and painting of poles. | NO. | 5 |  |  | 15500 |  |  |  |  | -15500
0
c | Galvanized street lighting pole of 3.0m height above ground level up to the fitting with free fixed door, including removable panel with clamps for power cables, and protective fuse holder with 1x6A fuses. Price to include foundation work and manhole of diameter 500mmx500mm as indicated on the drawing. | No | 86 |  |  | 7000 |  |  |  |  | -7000
0
5.4.2 | EXTERIOR LIGHT FITTING | [9 empty] | 0
a | Exterior Light Fitting type Philips SGS 102-K, with 1xHPL-N150W Lamp or equivalent approved. | No | 60 |  |  | 6500 |  |  |  |  | -6500
0
b | PHILIPS EPS300+GPS-301 PCO-D 400+ SON-I 70W IC 230V LO Lamp or equivalent approved.. | No | 86 |  |  | 4000 |  |  |  |  | -4000
0
c | Approved type photo cell for straight lights control, the position shall be determined on site with respect to the nearby pillar. | No | 4 |  |  | 5000 |  |  |  |  | -5000
0
5.5 | TELEPHONE SYSTEM | [9 empty] | 0
5.5.1 | CABLE TRENCHES | [9 empty] | 0
| a) Cable trench for telecom system installation of width 500mm and depth of 800mm filled with sand. | M3 | 747.3 |  |  | 295 |  |  |  |  | -295
0
5.5.2 | CONNECTION PITS | [9 empty] | 0
| a) Connection pits in solid block and internally of 500x400x600mm including reinforced concrete cover with lifting handle. | NO. | 19 |  |  | 2800 |  |  |  |  | -2800
5.5.3 | UNDERGROUND DUCTS/PIPES | [9 empty] | 0
| a) HDPE Pipe of 110mm diameter. | M | 2491 |  |  | 110 |  |  |  |  | -110
0
5.5.4 | WARNING TAPES FOR TELECOM | [9 empty] | 0
| 100 mm wide plastic tape, coloured yellow with suitable | [9 empty] | 0
| warning legend describing buried telecom lines | M | 2491 |  |  | 50 |  |  |  |  | -50
0
5.6 | UTILITY CONNECTION (Provisional Quantity) | [9 empty] | 0
5.6.1 | Fee for power connection works by EEPCO for 15/0.4kV distribution transformers | LS | 1 |  |  | 3200000 |  |  |  |  | -3200000
| Ditto, but of 500KVA | NO. | 2 | [7 empty] | 0
| Ditto, but of 1250KVA | NO. | 1 | [7 empty] | 0
| Total carried to summary | [9 empty] | 0
0
Note on D72: User1: 6313.194888

## Pump House
SUMMARY OF BILL OF QUANTITIES
FOR
PUMP HOUSE
Adigrat (Mewtsaworki)
I/N | Description | Unit | Amount
A. SUBSTRUCTURE
1 | Excavation and Earth work ……………………………………………………………. | Birr
2 | Concrete work……………………………………………………………………………… | Birr
3 | Masonry work……………………………………………………………………………… | Birr
| Sub Total (A)……………………….. | Birr
B. SUPERSTRUCTURE
1 | Concrete work …………………………………………………………….……………… | Birr
2 | Block work…………………………………………………………….……………………. | Birr
3 | Roofing…………………………………………………………….………………………… | Birr
4 | Carpentry and Joinary…………………………………………………………….………………………… | Birr
5 | Metal work …………………………………………………………………………………. | Birr
6 | Plastering and pointing…………………………………………… | Birr
7 | Finishing ……………………………………………………………………………………. | Birr
8 | Painting………………………………………………………………………………………. | Birr
9 | Glazing………………………………………………………………………………………. | Birr
10 | Electric Installation …………………………………………………………………… | Birr
| Sub Total (B)……………………….. | Birr
| Total (A+B)……………………….. | Birr
| 15 % VAT……………………….. | Birr
| Total including VAT……………………….. | Birr
ITEM NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT |  | QTY.
A-SUB STRUCTURE
1. EXCAVATION & EARTH WORK
1.01 | Clear and remove top soil to an average depth of 200mm. | M2 | 59.84 |  |  |  | 59.84
1.02 | Bulk excavation in ordinary soil to reduce level to a depth not exceeding 1500mm starting from reduced level. | M3 | 35.9 |  |  |  | 35.9
1.03 | Ditto but in soft rock (prov. item) | m3 | 14.36 |  |  |  | 14.36
1.04 | Ditto but in hard rock (prov. item) | m3 | 8.975 |  |  |  | 8.975
1.05 | Pit excavation in ordinary soil | M3 | 2.156 |  |  |  | 2.156
1.06 | Ditto but in soft rock (prov. item) | m3 | 0.8624 |  |  |  | 0.8624
1.07 | Ditto but in hard rock (prov. item) | m3 | 0.539 |  |  |  | 0.539
1.08 | Trench excavation in ordinary soil to a depth not exceeding 1500mm starting from reduced level. | M3 | 31.74 |  |  |  | 31.74
1.09 | Ditto but in soft rock (prov. item) | m3 | 12.696 |  |  |  | 12.696
1.1 | Ditto but in hard rock (prov. item) | m3 | 7.935 |  |  |  | 7.935
1.11 | Fill around foundation and building in non-expansive material 80% from the site and 20% is selected materials from outside well rolled and compacted in layers not exceeding 200 mm thick. | M3 | 20
1.12 | Fill under ground floor Slab and hard core with selected material from site. The filling shall be performed in layers of 200mm by watering and compacting each layer properly. | M3 | 7.88 |  |  |  | 7.88
1.13 | Load & Cart away the excavated surplus material outside of the site to a designated area by the municipal authority. | M3 | 87.49 |  |  |  | 87.49
1.14 | 250mm thick basaltic stone hardcore well rolled, consolidated and blinded with crushed stone. | M2 | 19.7 |  |  |  | 19.7
TOTAL CARRIED TO SUMMARY ...................................................
2. CONCRETE WORK
2.01 | 50 mm lean concrete quality C-5, with minimum cement content of 150 kg /m3, of concrete;
| a) Under Ground floor beam & Ground floor slab. | M2 | 24.5 |  |  |  | 24.5
| b) Under concrete pad | M2 | 5.46 |  |  |  | 5.46
2.02 | Reinforced concrete quality C-25, minimum cement content of 360kg of cement/m3 filled
in to form work and vibrated around rod reinforcement
(formwork and reinforcement measured separately)
| a) in Ground floor Beams | M3 | 2.4 |  |  |  | 2.4
| b) in 100mm thick ground floor slab | M2 | 19.7 |  |  |  | 19.7
| c) in concrete pad | M3 | 1.911 |  |  |  | 1.911
2.03 | Provide, cut and fix in position sawn structural wood or steel
formwork which ever is appropriate;
| a) to Ground floor Beams | M2 | 19.2 |  |  |  | 19.2
| c) to concrete pad | M2 | 1.9656 |  |  |  | 1.9656
2.04 | Mild steel reinforcement according to structural drawings.
Price includes cutting, bending, placing in position,tying wire
& concrete spacers.
| a) Dia 8 mm deformed bar | Kg | 144.5 |  |  |  | 144.5
| b) Dia 12 mm deformed bar | Kg | 47.952 |  |  |  | 47.952
| c) Dia 14 mm deformed bar | Kg | 171.23 |  |  |  | 171.23
2.05 | 10x100mm Styrofoam expansion joint filler between ground
| beam and floor slab. | Ml | 18.2 |  |  |  | 18.2
TOTAL CARRIED TO SUMMARY ...................................................
3. MASONRY WORK
3.01 | 500mm thick hard trachytic roughly dressed stone masonry
foundation wall under ground level bedded in cement mortar
| mix ratio (1:3). | M3 | 9.75 |  |  |  | 9.75
3.02 | Ditto but for exposed part above natural ground level. Price includes pointing the masonry. | M3 | 17.535
TOTAL CARRIED TO SUMMARY ...................................................
B-SUPER STRUCTURE
1. CONCRETE WORK
1.01 | Reinforced concrete quality C-25,360 kg of cement/m3 filled
in to form work and vibrated around rod reinforcement.
(Formwork and reinforcement measured separately)
| a) In Elevation columns | M3 | 0.65 |  |  | 2172.0994 | 0.65
| b) In Roof beams | M3 | 1.34 |  |  |  | 1.34
| c) In Lintel beams | M3 | 0.16 |  |  |  | 0.16
1.02 | Provide, cut and fix in position sawn structural wood or steel
formwork which ever is appropriate;
| a) To Elevation columns | M2 | 10.84 |  |  |  | 10.84
| b) To Roof beams | M2 | 17.84 |  |  |  | 17.84
| c) To Lintel beams | M2 | 2.4 |  |  |  | 2.4
1.03 | Mild steel reinforcement according to structural drawing. Price includes cutting, bending, placing in position , tying wire, concrete spacers and reinforcement bar chairs.
| a) Dia 8 mm deformed bar | Kg | 43.96 |  |  |  | 43.96
| b) Dia 12 mm deformed bar | Kg | 76.66 |  |  |  | 76.66
TOTAL CARRIED TO SUMMARY ...................................................
2. BLOCK WORK
Walls shall be constructed from class 'C' hollow concrete blocks. The blocks shall be selected for their consistency in dimensions, shapes, angles and strength. It should be free from cracks or any other defects and the surface characteristic of the blocks shall be in such a way that good key for plaster is obtained.
2.01 | 20cm thick HCB wall, embedded in cement-sand mortar of 1:3 mix ratio. Both sides shall be left for plastering. | M2 | 50.54 |  |  |  | 50.54
TOTAL CARRIED TO SUMMARY ...................................................
3. ROOFING WORK
3.01 | Roof cover in precoated or galvanized EGA 400, 0.4mm thick fixed
| to steel latice purlin. Price shall include ridge cap. Dia 6mm fixing I bolts and water proof washers. (Purlin measured separetly and roof measured in horizontal projection). | M2 | 33 |  |  |  | 33
3.02 | Supply and fix G-28 flat metal sheet as per the detail drawing. Price shall include metal bracket support and all other necessary acessories. Devt. Length=500mm | Ml | 6 |  |  |  | 6
3.03 | Ditto but Flashing Dev. Length=660mm | Ml | 14 |  |  |  | 14
3.04 | Ditto but Copping Dev. Length=330mm | Ml | 14 |  |  |  | 14
TOTAL CARRIED TO SUMMARY ...................................................
4. CARPENTRY & JOINERY
CARPENTRY
4.01 | Supply & fix well treated 25*25cm soft wood facia board that could resist rain & weather. Price includes three coat of varnish paint and all the necessary material and workmanship to complete the work. | Ml | 6 |  |  |  | 6
TOTAL CARRIED TO SUMMARY ...................................................
5. METAL WORKS
5.01 | Metal window and doors manufactured from 38*1mm LTZ fram profile and 0.8mm thick ribbed sheet all as per the engineers approval and window door schedule. Unit price shall include one coat of antirust, three coats of metal paint, cylinderical key, doors
5.1.2 | Window
| a) W1 Size 200X50cm | No | 2 |  |  |  | 2
5.1.2 | Sliding Door
| a) D1 Size 200X250cm | No | 1 |  |  |  | 1
TOTAL CARRIED TO SUMMARY ...................................................
6. STEEL STRUCTURE WORKS
Supply, fabricate and mount steel truss according to the structural
drawing. Price shall include one coat of antirust and two coats of
synthetic enamel painting and all other necessary accessories.
6.01 | RHS lattice purlins
| a) 25*25*2.5mm. | Kg. | 89.87 |  |  |  | 89.87
6.02 | Bolts with nuts
| a) dia 12mm bolt De length =100mm with washer and nut | Pcs | 8 |  |  |  | 8
6.03 | Angle Iron Welded to reinforcment bar
| a) 25*25*2.5mm | Pcs | 8 |  |  |  | 8
TOTAL CARRIED TO SUMMARY ...................................................
7. PLASTERING, FLOOR, WALL
AND OTHER FINISHING WORKS
PLASTERING
7.01 | Supply and apply three coats of plaster in cement-sand mortar to
every internal wall surface, columns and beams. Mix ratio shall be
1:3.Price shall include preparing the background for plastering by
hacking, nicking out joints chiseling smooth surfaces to roughen
| them, etc. | M2 | 42.28 |  |  |  | 42.28
7.02 | Apply two coats of cement plastering and one coat of tyrolean
| rendering to external HCB wall and exposed concrete surface. | M2 | 68.54 |  |  |  | 68.54
FLOOR & WALL FINISHES
7.03 | 50mm thick smooth finished cement and sand screed mix ratio of 1:3
floor finish. All as per engineers instruction. Price shall include cement
| sand screed skirting as per the drawing. | M2 | 19.7 |  |  |  | 19.7
7.04 | 1.2mm thick formed black iron sheet window sill anchored and screewed to HCB wall as shown on the drawing. | Ml | 4 |  |  |  | 4
7.05 | 100mm wide and 80mm thick C-20 pre-cast concrete pavement
around the building bedded on 100mm thick sand/red ash base
and joint pointed in cement and sand mortar mix 1:3. price includes
| the sand/red ash base & pointing all as per the dtail drawings. | M2 | 29.76 |  |  |  | 29.76
TOTAL CARRIED TO SUMMARY ...................................................
8. PAINTING
8.01 | Apply three coats of synthetic emulsion paint to internal plastered
| wall surface, columns and beams. | M2 | 42.28 |  |  |  | 42.28
TOTAL CARRIED TO SUMMARY ...................................................
9. GLAZING
9.01 | Supply and fix 4mm thick clear glass. Price includes approved quality putty. | M2 | 2 |  |  |  | 2
a) 4mm thick clear glass
TOTAL CARRIED TO SUMMARY ...................................................
10.ELECTRICAL WORKS
SUPPLY AND INSTALL
10.1 | Distribution Board
10.1.1 | Flush mounted metal enclosure sub distribution board
SDB-PH with lockable door, earthing lead cable terminal,
connectors and all the necessary accessories
consisting of:-
1pc main MCB of 25A, 3-ph Icu = 10KA
2pcs MCB of 10A, 1-ph Icu = 6KA
2pcs MCB of 16A, 1-ph Icu = 6KA
| With bus bar of 63 A and 25 %reserve space | No | 1
10.2 | Light Points
10.2.1 | Flush mounted light points fed through PVC insulated
conducters of 3x2.5 mm² inside PVC conduits of 16mm
diameter, including junction boxes with covers insulating
| screw cap connectors. | No | 4
10.3 | Extra Over Light Points For : -
(TYPE LEGRAND SUNO OR EQUIVALENT)
10.3.1 | Flush mounting double switch, 7740 01 + 77 40 41 | No | 2
10.4 | Socket outlet points
10.4.1 | 10-16A/1P flush mounted socket outlets point fed
through PVC insulated conductors of 3x2.5mm² inside
PVC conduits of 16mm diameter including junction boxes
| with covers and insulating screw cap connectors. | No | 3
10.5 | Extra Over socket points For : -
(TYPE LEGRAND SUNO OR EQUIVALENT)
10.5.1 | Flush mounting socket outlet of 10-16A/1P | No | 3
10.6 | Light fittings and lamps
(Specified type or equivalent)
10.6.1 | MODUS TU 136 EP+1xT8 36W/840 lamp.
| fixed to RC ceiling | No | 4
TOTAL CARRIED TO SUMMARY ...................................................

## Tranformer house (hidden)
SUMMARY OF BILL OF QUANTITIES
FOR
Transformer House
Adigrat (Mewtsaworki)
I/N | Description | Unit | Amount
A. SUBSTRUCTURE
1 | Excavation and Earth work ……………………………………………………………. | Birr
2 | Concrete work……………………………………………………………………………… | Birr
3 | Masonry work……………………………………………………………………………… | Birr
| Sub Total (A)……………………….. | Birr
B. SUPERSTRUCTURE
1 | Concrete work …………………………………………………………….……………… | Birr
2 | Block work…………………………………………………………….……………………. | Birr
3 | Roofing…………………………………………………………….………………………… | Birr
4 | Metal work …………………………………………………………………………………. | Birr
5 | Plastering and pointing…………………………………………… | Birr
6 | Finishing ……………………………………………………………………………………. | Birr
7 | Painting………………………………………………………………………………………. | Birr
8 | Electrical Installation …………………………………………………………………… | Birr
| Sub Total (B)……………………….. | Birr
| Total (A+B)……………………….. | Birr
| 15 % VAT……………………….. | Birr
| Total including VAT……………………….. | Birr
Item No | Description | Unit | Qty | Unit Rate | Amount
A-SUB STRUCTURE
1.0 EXCAVATION & EARTH WORK
1.01 | Clear and remove top soil to an average depth of 200mm. | M2 | 172.2084
1.02 | Bulk excavation in ordinary soil to level less than 1500mm. | M3 | 129.1563
1.03 | Bulk excavation in soft rock to level less than 1500mm. | M3 | 64.5781
1.04 | Bulk excavation in hard rock to level less than 1500mm. | M3 | 64.5781
1.05 | Trench excavation in non expansive soil to a depth less than 1500mm from reduced ground level. | M3 | 31.7918
1.06 | Trench excavation in soft rock to a depth less than 1500mm from reduced ground level. | M3 | 15.8959
1.07 | Trench excavation in hard rock to a depth less than 1500mm from reduced ground level. | M3 | 15.8959
1.08 | Fill under hard core with imported selected material from quarry waste well rolled and compacted in layers not exceeding 200 mm thick. | M3 | 26
1.09 | Fill around foundation and building in non-expansive material 80% from the site and 20% is selected materials from outside well rolled and compacted in layers not exceeding 200 mm thick. | M3 | 30.3387
1.1 | Load and cart away surplus excavated material to an appropriate tip. | M3 | 356.3378
1.11 | 250mm thick basaltic stone hardcore well rolled, consolidated and blinded with crushed stone . | M2 | 53
TOTAL CARRIED TO SUMMARY ..............
2.0 CONCRETE WORK
2.01 | 50 mm lean concrete quality C-5, with minimum cement content of 150 kg /m3, of concrete:
| a) Under Masonry wall | M2 | 17.455
2.02 | C-25 reinforced concrete with minimum cement content of 360 kg of cement/m3 of concrete, filled into formwork and vibrated around rod reinforcement (formwork and reinforcement measured separately)
| a) In grade beams | M3 | 2.9
| b) In 100mm thick ground slab. | M2 | 53 |  |  |  | 9831.1186
| c) In RC manhole | M3 | 32.1347
| d) In RC ditch | M3 | 10.1816
2.03 | Provide, cut and fix in position sawn structural wood or steel formwork which ever is appropriate;
| a) To grade beams | M2 | 29
| b) To RC manhole | M2 | 64.21
| c) To RC ditch | M2 | 18.304
2.04 | Mild steel reinforcement according to structural drawings. Price includes cutting, bending, placing in position tying wire and concrete spacers.
| a) Dia 8 mm deformed bar | Kg | 359.0283
| b) Dia 10 mm deformed bar | Kg | 209.9034
| c) Dia 12 mm deformed bar | Kg | 1179.2995
2.05 | 10mm thick and 400mm deep Styrofoam expansion joint filler. | Ml | 40
TOTAL CARRIED TO SUMMARY ................
3.0 MASONRY WORK
3.01 | 400mm thick hard trachytic roughly dressed stone masonry foundation wall below ground level bedded in cement mortar (1:3) retaining. | M3 | 19.2005
3.02 | Ditto but exposed part above natural ground level. | M3 | 6.982
TOTAL CARRIED TO SUMMARY ...............
B-SUPER STRUCTURE
1.0 CONCRETE WORK
1.01 | C-25 reinforced concrete with minimum cement content of 360 kg of cement/m3 of concrete, filled into formwork and vibrated around rod reinforcement (formwork and reinforcement measured separately)
| a) In elevation columns | M3 | 1.6
| b) In intermediate beams | M3 | 1.5004
| c) In roof beams | M3 | 3.5
| d) in 150mm thick floor slab | M2 | 67
1.02 | Provide, cut and fix in position structural wood or steel form work which ever is appropriate.
| a) To elevation columns | M2 | 31
| b) To intermidiate beams. | M2 | 20.5
| c) To roof beams | M2 | 34
| d) in 150mm thick floor slab | M2 | 72
1.03 | Mild steel reinforcement according to structural drawings. Price includes cutting, bending, placing in position tying wire, concrete spacers and steel reinforcement chairs.
| a) Dia 8 mm deformed bar | Kg | 1860
| b) Dia 12 mm deformed bar | Kg | 4292
| c) Dia 14 mm deformed bar | Kg | 186
TOTAL CARRIED TO SUMMARY ...............
2. BLOCK WORK
2.01 | 250mm thick solid block wall bedded in cement mortar mix (1:3) and internal side left for plastering and external side left for pointing. | M2 | 140
TOTAL CARRIED TO SUMMARY ...............
3. ROOFING
3.01 | Average 50mm thick light weight concrete in mix (1:2:5) cement, pumice and sand laid over RC roof slab with proper slope towards down pipe and corners angled at 450 at parapet and roof slab connection as shown on the detail drawing. | M2 | 67
3.02 | 30mm thick smooth finished cement sand screed laid on top of light weight concrete and gutter in mortar mix (1:3) with proper slope towards down pipe. | M2 | 67
3.03 | Supply and fix G.28 formed galvanized iron sheet copping development length of 370mm. | Ml | 34.1
TOTAL CARRIED TO SUMMARY ...............
4. METAL WORK
Metal Doors & windows made of 38x1.5mm LTZ profiles shown on the drawings, price include approved quality locks and all iron mongry works, two coats of anti rust, three coats of synthetic paint, metal louver, 1mm thick ribbed sheet and door stopper.
Doors
4.01 | D1 size 3010x2600mm | pcs | 1
4.02 | D2 size 1210x2600mm | pcs | 1
Top Window
4.03 | a) Type TW1 size 1010x800mm | Pcs | 8
TOTAL CARRIED TO SUMMARY ...............
5. Plastering and Pointing
5.01 | Apply three coats of plastering in cement mortar (1:3) up to fine finish. Price shall include pre-cleaning and preparation of the surface.
| a) To exposed beam and column | M2 | 11.52
| b) To Concrete ceiling. | M2 | 67
| c) To external wall surfaces | M2 | 132
5.02 | Apply pointing and Varnish to external wall surface | M2 | 132
TOTAL CARRIED TO SUMMARY ...............
6. Finishing
6.01 | 50mm thick cement sand screed floor finish smoothly finished flooring in mortar mix (1:3). | M2 | 48.12
6.02 | 280x30mm Terrazo window sill cut to appropriate size, weathered and mounted on & including cement mortar (1:3) bedding. | Ml | 9.44
6.03 | 100mm thick precast concrete pavement in concrete class C-15 around the building open jointed on and including 400mm selected material compacted fill and 100mm thick redash or equivalent bedding material. | M2 | 166.68
6.04 | Half Dia. 400mm concrete pipe ditch for storm water drainage around the pavement. Price shall include red ash or equivalent bedding material, jointed in cement mortar mix 1:2. | Ml | 166.68
TOTAL CARRIED TO SUMMARY ...............
7. PAINTING
7.01 | Apply three coats of approved quality plastic paint. Price shall include pre-cleaning and preparation of surfaces.
| a) To exposed beams and columns | M2 | 11.52
| b) To concrete ceiling | M2 | 67 |  |  | 25.85
| c) To internal wall surfaces | M2 | 164
TOTAL CARRIED TO SUMMARY ...............
8.ELECTRICAL WORKS
SUPPLY AND INSTALL
8.1 | Light Points
8.1.1 | Flush mounted light points fed through PVC insulated
conducters of 3x2.5 mm² inside PVC conduits of 16mm
diameter, including junction boxes with covers insulating
| screw cap connectors. | No | 4
8.2 | Extra Over Light Points For : -
(TYPE LEGRAND SUNO OR EQUIVALENT)
8.2.1 | Flush mounting single switch, 7740 01 + 77 40 41 | No | 2
8.3 | Socket outlet points
8.3.1 | 10-16A/1P flush mounted socket outlets point fed
through PVC insulated conductors of 3x2.5mm² inside
PVC conduits of 16mm diameter including junction boxes
| with covers and insulating screw cap connectors. | No | 3
8.4 | Extra Over socket points For : -
(TYPE LEGRAND SUNO OR EQUIVALENT)
8.4.1 | Flush mounting socket outlet of 10-16A/1P | No | 3
8.5 | Light fittings and lamps
(Specified type or equivalent)
8.5.1 | MODUS TU 136 EP+1xT8 36W/840 lamp.
| fixed to RC ceiling | No | 4
TOTAL CARRIED TO SUMMARY ...............